CANSPEC’S Home Maintenance Seasonal list

Spring

- Review roof for signs of damage/wear

- Check Facia, soffits and trim for deterioration

- Clean eavestrough and downspouts- check for functional issues

- Change/clean  furnace/HRV  filter

- Clean and service air conditioning unit

- Check water heater for leaks or rust

- Check fire extinguishers

- Clean kitchen exhaust and air/ charcoal filters

- Repair any uneven Grading, driveways, walkways and patios

- Check plumbing shut offs for function and turn inside hose shut offs on

- Clean cloths dryer exhaust

- Check foundation for water leaks

Summer

- Check decks or porches for deterioration

- Check all exterior siding or veneer

- Check windows and doors for caulking/ paint

- Check water hoses on appliances for cracks, bubbles or swelling

- Change/clean  furnace/HRV  filter

- Clean air conditioner (Exterior unit)

- Review water drainage in a heavy rain

Fall

- Have heating system reviewed and cleaned by a heating professional

- Review roof for signs of damage/wear

- Change the furnace filter

- Have your wood burning fireplace or stove swept and reviewed for safety

- Review and maintain all exterior caulking

- Clean eavestrough and down spouts – check for functional issues

- Turn of inside connection for hose bibs.

- Prepare lawns and gardens for winter

Winter

- Review electrical systems – test GFCIs and AFCIs monthly

- Change/clean furnace/HRV filter

- Review caulking and grout at all tubs and showers

- Clean and maintain smoke detectors and Co detectors (Vacuum with a soft vacuum brush).

- Review you emergency escape plan with your family

- Check main water for leaks and proper function

- Monitor walls and ceilings caused by ice dams or other winter conditions